|  | ISO/TC224/WG4/N37rev4 |
| --- | --- |

| ISO/TC 224/WG 4 Management of Wastewater Systems |  |
| --- | --- |

| Co-Convenor Heekyung PARK, Ph. D., P.E. Tel.: +82-42-869 3620 Fax: +82-42-869 3610 e-mail: hkpark@kaist.ac.kr | Co-Convenor Karl ROHRHOFER, M. Sc., P.E. Tel.: +43-1-480 50 10 Fax: +43-1-480 50 10-99 e-mail: office@rohrhofer.at | Date: 2004-04-29 |
| --- | --- | --- |
| Secretariat of ISO/TC224/WG4 Korean Agency for Technology and Standards, MOCIE Ms. Dr. Airan HAHN 2, Jungang-Dong Kwachon Kyunggi-Do Republic of Korea Tel.: +82-2-509 71 13(4) Fax: +82-2-503 79 92 e-mail: airan@ats.go.kr |  |

(Note) This WG4_N37 which was prepared based on all comments of all WG4 members shown in doc WG4_N72rev3. Remember that N37 rev 4 is only for editorial comments and, if you have any comments, send them to WG4 Secretariat by May 9, 2004. Then, WG4 Secretariat will prepare N37 rev 5 for submission to TC Secretariat by May 15, 2004.

Working Draft [WD] of WG4

(Working Draft of WG4 of ISO/TC224, as discussed in the 6th WG4 meeting in Daejeon, Korea, April 13-15, 2004.)

Management of Wastewater Systems

Guidelines for the assessment of the service

Note: This Final Working Draft of WG4(N37rev5) is based on the 5th and 6th meetings of WG4 having dealt with all comments from ISO/TC224 members (documents N72rev2 + N72rev3).

Table of Contents

Foreword	4

Introduction	4

1.	Scope	4

2.	Normative References	5

3.	Terms and Definitions	5

4.	Components of Wastewater Systems	6

4.1	General	6

4.2	Sewer Systems	7

4.2.1	Collection and transport of wastewater	7

4.2.2	Treatment of wastewater	7

4.3	On-site Wastewater System	7

4.3.1	On-site equipment include	7

4.3.2	Transportation methods of wastewater or sludge include	7

4.3.3	Treatment/disposal/reuse methods include	7

5.	Management of Wastewater Systems	8

5.1	General	8

5.2	Organization	8

5.3	Planning and Construction	8

5.4	Operation and Maintenance	9

6.	Objectives for the Management of Wastewater Systems	9

6.1	General	9

6.2	Objectives	9

7.	Requirements for the Management of Wastewater Systems	10

7.1	General	10

7.2	Activities Management	11

7.3	Process Management	11

7.4	Resources Management	11

7.5	Customer Relations Management (CRM)	11

7.6	Information Management	12

7.7	Asset Management	12

8.	Service Assessment Criteria and Related Performance Indicators (PIs)	12

9.	Performance Indicators	12

9.1	General	12

9.2	Performance Indicators and Related Components	13

9.3	Requirements of Performance Indicators and Variables	13

9.4	Confidence Grading	14

9.5	Implementation of PIs	14

Annex A:	Informative: Scheme of wastewater system

Annex B:	Informative: Examples for measures

- regarding personnel (human) resources;

- regarding financial resources (costs & benefits);

- regarding customer relations management;

- regarding environmental protection & conservation of water resources;

- regarding operation and maintenance (O&M) of wastewater systems.

Annex C:	Informative: Examples of wastewater service quality criteria and performance indicators

Annex D:	Informative: Performance indicators and related components

Annex E:	Informative: Implementation of performance indicators

Annex F:	Bibliography

# Foreword

This standard addresses wastewater systems in its entirety but it is also applicable to systems at any level of their development (e.g. pit latrines, on-site systems, networks, treatment facilities).

# Introduction

The standard provides guidelines for assessment of the services related to the management of wastewater systems. In addition, the guidelines should aid all the relevant stakeholders, for example public authorities, regulators and operators, to continuously improve the level of service provided to the user at optimal cost. The standard is for voluntary application, does not include any targets/limits for the suggested performance indicators and can be used by all stakeholders, irrespective of their legal status.

Wastewater systems are built, and operated, mainly to protect the public health and the environment. The type of wastewater system should be chosen and adapted in context with the density of the population. It should be cost effective and should permit phased development to overcome the financial constraints while not compromising the stated objectives.

# Scope

This standard is a framework for the definition and measurement of service activities relating to wastewater systems.

Wastewater in this standard includes sanitary and industrial wastewater allowed to be discharged into a sewer system outside buildings, as well as sanitary waste in undiluted form, sanitary wastewater combined with storm water, and storm water that does not include sanitary wastewater.

This standard includes

- the definition of a language common to different stakeholders,

- definitions of the characteristics of the elements of the service according to the customer expectations,

- a list of requirements to be fulfilled for the operation and maintenance (management) of a wastewater system,

- a list of service quality criteria and  related examples of performance indicators, all without setting any target values or thresholds.

Note: This standard specifically excludes

- methods of design and construction of wastewater systems,

- regulating management structure and methodology of wastewater service activities of operation and management including contracting.

# Normative References

No normative references are made in this standard to ISO standards.

# Terms and Definitions

Affordability: Ability to be economically bearable by the users.

Assets management: An integrative optimization process that enables a utility to determine how to minimize the total life-cycle cost of owning and operating infrastructure assets (e.g., treatment plant components, pipes, pumps, etc.) while continually delivering the service levels customer’s desire.

Community: one or more natural or legal persons and, in accordance with national legislation or practice, their associations, organizations or groups, other then local authorities, having interests in the area where the service is provided.

Confidence grading: Assessment of the quality in terms of accuracy and reliability.

Coverage: Extent to which a service provider provides services to users.

Criteria: Inherent characteristics of something which allows to be assessed or evaluated.

Customer/User: person or group or organization that directly benefits from drinking water and/or wastewater service.

Drain: Connection between wastewater source and sewer and other point of discharge.

Effectiveness: Extent to which planned activities are realized and planned results achieved.

Efficiency: Relationship between the result achieved and the resources used.

Environment: Surroundings in which an organisation operates, including air, water, land, natural resources, flora, fauna, humans and their interrelation.

Improving on-site wastewater system: Improving on-site wastewater system is the first phase in incremental development of wastewater service.

Maintenance: Routine work undertaken to ensure the continuing performance of wastewater systems

Management: Coordinated activities to direct and control an organization.

On-site system: the smallest decentralised wastewater sub-system (for one house or a group of houses) for managing wastewater as close as possible to the source of generation.

Operator (of the system, could be private or public or public/private): Person or group or organization, which utilizes a system for its intended purposes.

Performance indicator (PI): figure resulting of a ratio or simple combination of several basic variables of a system; it consists of a value expressed in a certain unit, and a confidence grade which indicates the quality of the data represented by the indicator.

Quality: degree to which a set of inherent characteristics fulfils requirements.

Rehabilitation: all measures for restoring or upgrading the performance of existing wastewater systems, consisting of repair, renovation and replacement.

Relevant authority: body entitled to lay down mandatory rules and regulations and /or to check the compliance with these rules, concerning operators of the drinking water and wastewater services.

Sanitary wastewater: Discharges from domestic sources of water contaminated by use in kitchens, laundry rooms, bathrooms, toilets, and similar facilities. Same as domestic and foul wastewater.

Sewer system: Network of pipelines (drains and sewers) and auxiliary structures (e.g., gullies, pumping stations, weirs, storm water tanks, siphons), excluding treatment systems, which conveys wastewater from their points of entry to their points of discharge.

Stakeholder: Person or group or organization likely to affect/to be affected or which perceives to be affected by the service (e.g. costumers, relevant authorities, operators, communities, NGOs).

Variable: basic parameter of a system which can either be measured from the field or is easily obtainable. It consists of a value (resulting from a measurement or a record) expressed in a certain unit, and a confidence grade, which indicates the quality of the data represented by the variable.

# Components of Wastewater Systems

## General

A wastewater system consists of components for collection, transport, treatment, and disposal/discharge. The systems can be centralized, decentralized for a small community (sub-system) or on-site.

Schemes with the wastewater systems and the relations between the various components are shown in Annex A.1 and A.2 (informative).

Depending on the extent of the development of the wastewater services in particular country or area, there may be only a few of the above mentioned components of the system utilized (e.g. only collection, disposal).

## Sewer Systems

### Collection and transport of wastewater

Components of the system for collection and transport of wastewater are:

- collection/bulk liquid carrier (for on-site systems); drains;

- sanitary/storm/combined sewers and auxiliaries;

- pumping and storage facilities;

- overflow structures;

- monitoring/sampling/measuring/remote control facilities;

- storage and retention basins;

- gravity sewers;

- pressure/vacuum sewers;

- interceptors/trunk sewers.

### Treatment of wastewater

Wastewater treatment can include:

- treatment inlet holding tanks;

- septage receiving facilities;

- treatment facility inlet structures;

- monitoring/sampling/measuring/remote control facilities;

- preliminary/primary/secondary/complementary treatment and reuse/disposal facilities;

- discharge facilities;

- odour control facilities;

- residues handling/conditioning facilities;

- residue reuse/disposal facilities;

- energy recovery facilities.

## On-site Wastewater System

### On-site equipment include

- pit latrine

- tank

### Transportation methods of wastewater or sludge include

- manually emptied storage tank

- vacuum emptied storage tank

- small bore (diameter) system

### Treatment/disposal/reuse methods include

treatment/reuse system

- grease trap

- septic tank

- upflow anaerobic sludge blanket (UASB) reactor

- wetland/lagoon/pond system

- soakaways

- reed beds

- evaporation beds

- composting toilet

sludge disposal:

- buried in situ

- dumping site

# Management of Wastewater Systems

## General

The task of the wastewater service is to effectively collect, transport, treat, dispose and/or reuse wastewater and its residues to ensure that the main objectives of the system are fulfilled as stated in clause 6.2.

The organization's management structure should be designed to ensure the safe and successful planning, implementation, monitoring and checking of all tasks and activities. It shall encompass the full range of services or functions provided.

Performance shall be related to the objectives and measured by performance indicators.

To assess whether the objectives and performance requirements of the wastewater system have been achieved, a set of service quality criteria shall be used.

On-site sanitation should be improved and monitored to ensure the protection of water resources and of the receiving environment from pollution and to ensure maximum recovery and reuse of waste water.

## Organization

The wastewater undertaking should provide a well-structured documentation of its hierarchy and organization of workflow.

Managers and supervisors are encouraged to check all existing regulations for their proper application. Should they detect flows in the hierarchical and workflow organization and / or the documented regulations, they should initiate immediate remedial action.

Within the framework of general administration customer-oriented public relations are to be guaranteed (see ISO/TC 224 Standard Part 1: "Service to the customer").

Financial capability and funding should be appropriate to provide operational and capital requirements. Management capability is also needed.

## Planning and Construction

The planning of the development of the wastewater system should be based on a long-term strategy for environmental protection, by improving step by step the wastewater system taking into account the population and urbanization development, the safeguard of public health and mitigation of flooding hazards.

## Operation and Maintenance

Operation and maintenance concern the assets of the wastewater system and include:

- Service connection (control of quality of the connection; control of the impact of industrial connections),

- Collection and transport  (inspection and assessment of conditions of sewers and drains, rehabilitation of sewers and drains, inspection of the on-site system at each emptying or sludge removal operation),

- Treatment, reuse and sludge disposal or discharge.

The wastewater operator should develop a plan for operation and maintenance strategy covering both proactive and reactive activities.

# Objectives for the Management of Wastewater Systems

## General

Management of a wastewater system needs

- formulation of objectives and performance requirements,

- targeting the performance requirements by the use of a set of performance indicators,

- evaluation of the performance by measuring and assessment.

Affordability for customers shall be general condition to develop the objectives for the management of wastewater systems.

## Objectives

Objectives are generally defined for a certain region.

Objectives need to be expressed in the form of performance requirements.

Objectives for wastewater service should consider:

Protection of public health

Protection of public health includes objectives for:

-	human health care;

-	human safety.

Protection of the natural/built environment

Protection of the natural environment includes objectives for:

- preservation/conservation of natural resources;

- flood protection;

- preservation of flora and fauna.

Protection of the built/public environment includes objectives for:

- value to users and user safety;

- technical value and maintainability;

- functionality and value for the future;

- flood control;

- amenity value.

Promotion of sustainable development

Promotion of sustainable development includes objectives for:

- avoidance of transferring shortcomings in time and space;

- closing natural cycles of resources;

- avoidance/reduction of pollution of natural resources;

- separation between clean and polluted resources;

- measures at the source instead of end-of-pipe;

- strategic priorities:

  - regarding water management:

1. efficient use

2. retain and reuse

3. retention

4. discharge

  - regarding pollution control:

1. recycling and prevention

2. separation

3. removal

# Requirements for the Management of Wastewater Systems

## General

Management of a wastewater system comprises:

- activities management;

- process management;

- resources management;

- customer relations management (CRM);

- information management;

- asset management.

Note: Wherever applicable, management strategies may be in accordance with ISO 9000 and ISO 14000 series.

## Activities Management

Activities should be managed on the various levels in the organization. Activities are:

- policy making;

- strategy formulation;

- regulatory compliance;

- internal and external coordination;

- operation and control.

## Process Management

Process management of the activities in a wastewater system should be in accordance with ISO 9000 series, related to the management cycles:

- planning of measures (plan);

- realization of measures (do);

- research/investigation and inspection (check);

- assessment and continuous improvement (act).

## Resources Management

Resources to be managed are:

- personnel (human resources);

- material and equipments (non fixed asset, e.g. spare parts, vehicles, chemicals);

- financial (costs and benefits);

- natural (e.g. water).

Special consideration must be given to make best use of staff expertise.

Examples of measures regarding personnel (human) resources (see Annex B, informative).

Examples of measures regarding financial resources (costs & benefits; see Annex B, informative).

## Customer Relations Management (CRM)

Customer relations management includes:

- identification of customer needs and expectations;

- registration and handling of complaints;

- customer service;

- communication, education and information (e.g. health);

- promotion and assistance of improved on-site system;

- customer accounting/billing.

Examples of measures regarding customer relations management (see Annex B, informative).

## Information Management

Information management includes:

- registration of inventory data of the system;

- data management;

- evaluation of data;

- evaluation and progress reports.

## Asset Management

Asset management includes:

- maintenance of the up-to-date system inventory;

- monitoring of the condition components of the system;

- registration of data of the condition of the system;

- optimizing depreciation and reinvestment;

- risk management.

Examples for measures regarding environmental protection and conservation of water resources as well as measures regarding operation and management (O&M) of wastewater systems are given in Annex B, informative.

# Service Assessment Criteria and Related Performance Indicators (PIs)

Service quality criteria provide an assessment of the service received by the user. The necessary service quality criteria must be selected according to the objectives and requirements of interest as determined by stakeholders under local conditions. Examples of service quality criteria and associated performance indicators (see clause 9) are provided in Annex C, informative.

# Performance Indicators

## 9.1 General

To assure effectiveness and a high degree of efficiency and proper performance of the system, the assessment of the functioning and management of a wastewater system should be directed to the achievement of objectives and performance requirements as identified in clause 6 and 7 of this standard. This requires a combination of performance measures of the output and performance measures of the components of the system. To achieve this, a set of coherent and reliable performance indicators should be adopted.

## Performance Indicators and Related Components

Performance indicators and their related components comprise a coherent set of performance indicators, context information and variables, as defined in Annex D, informative.

A performance indicator is a measure of the efficiency and effectiveness of the delivery of services by an undertaking. Performance indicators may also be considered as providing information for ‘metric’ benchmarks – quantitative comparative assessment of performance.

PIs should be unique and collectively appropriate for representing the relevant aspects of the functioning and management of the wastewater system in a true and unbiased way. Each PI should contribute to the expression of the level of actual performance achieved in a certain area and during a given period of time (context), allowing for a clear comparison with targeted objectives and simplifying complex analysis.

The interpretation of the performance of the functioning and management of a wastewater system cannot be carried out without taking into account the context in which it operates. Therefore, complementary to the PIs, context information should be considered:

- the characteristics of the infrastructure and resource systems;

- the characteristics of the region in which the services are provided.

## Requirements of Performance Indicators and Variables

This sub clause specifies the basic requirements of PIs and variables. For basic requirements of variables see Annex D, informative.

PIs should comply with the following requirements:

- every PI should provide information significantly different from other PIs in the same set;

- only such PIs should be established which are deemed essential for effective performance evaluation and information for all stakeholders;

- variables to calculate PIs should be easily measurable at a reasonable cost;

- definitions of PIs and context information should be univocal;

- PIs should favour an easy and intuitive interpretation when possible;

- PIs should be accompanied of the necessary context information to aid in its interpretation.

Criteria and PIs provide assessment of service quality structured towards improved satisfaction of the end-user/costumer. They are used as tools for communication with users and accountability for management. Necessary PIs may be selected according to the nature of each service activity.

Further selection and addition of criteria and PIs are possible, corresponding to regional characteristics and changes in social situation.

For certain PIs, the following may be assessed :

- the performance objective;

- measurement frequency and conditions;

- changes over time;

- unacceptability of thresholds.

For every location, a set of PIs should be elaborated/selected from available sources, e.g., national regulations, IWA, World Bank, national associations.

Note: IWA has developed a comprehensive framework of performance indicators for wastewater services.

When establishing performance indicators for certain services, IWA document is expected to be a good reference. In addition, national performance indicators may be applicable; see examples in Annex F, Bibliography.

## Confidence Grading

A confidence grading is required so that users of the PIs and Context Information are aware of the reliability of the information available. PIs could be misleading without their confidence grade. The quality of variables should be therefore assessed in terms of its accuracy and reliability:

- The accuracy accounts for measurement errors in the acquisition of variables.

- The reliability accounts for uncertainties in how reliable the source of the data may be.

An example for the confidence grading scheme is referenced in the Bibliography (see Annex F).

## Implementation of PIs

The implementation of PIs should be carefully planned. A possible implementation of PIs is given in Annex E, informative.

Annex A (Informative)

A.1 Scheme of wastewater system

(Source: IWA Performance Indicators for Wastewater Services, MBP 2003; see Annex F, Bibliography).

Note: Depending on the extent of the development of the wastewater services in particular country or area, there may be only a few of the shown components of the system utilized (e.g. only collection, disposal).

A.2 Scheme of wastewater system

(Source: based on a scheme from Hydroconseil, France, 2002).

Annex B (Informative): Examples for measures

- regarding personnel (human) resources:

- maintain and secure health and safety of personnel;

- employ appropriate personnel for appropriate jobs in consideration to their technical competencies and skills;

- ensure that personnel comply with laws/bylaws/regulations;

- train personnel to upgrade their abilities;

- provide training for personnel to improve their abilities;

- place qualified personnel in compliance with laws/bylaws/ regulations;

- instruct personnel to behave in good faith in relation to customers.

- regarding financial resources (costs & benefits):

- develop a clear and fair service charge structure;

- develop applicable revenue sources to ensure cost recovery and long-term sustainability of wastewater treatment services;

- develop a service charge structure reasonable to different customers that accounts for local economic considerations and revitalization efforts;

- ensure long-term soundness of systems while considering cost-effectiveness;

- conduct asset inventory preparation and update/forecast of new assets;

- maintain sound finances under long-term management projections;

- analyze management conditions using appropriate methods while considering regional characteristic;

- continue cost reduction efforts.

- regarding customer relations management:

- identify and meet user/costumer needs;

- respond to users/customers complaints and opinions swiftly and appropriately;

- provide users/customers with communication opportunities to express their opinions;

- give considerations to people in neighbouring communities to gain their support;

- organize events using the wastewater facilities;

- participate as volunteers in local events;

- provide understandable and transparent information for users/customers.

- regarding environmental protection & conservation of water resources:

- contribute to sustainable Integrated Water Resources Management policies;

- act as a responsible stakeholder in basin institutions;

- promote Integrated Water Resources Management in water projects;

- control and limit pollution in the flows of water returning to nature;

- protect water quality in public water bodies;

- protect and conserve water sources for drinking;

- provide sound water cycle by reuse of treated wastewater;

- operate wastewater systems with considerations for the global environment;

- educate users/customers on environmental management concerns, and also not to discharge substances adversely affecting wastewater systems or the environment;

- optimize energy efficiency and minimize environmental loads;

- minimize consumption of electric power in wastewater systems;

- comply with local rules and regulations and consider customer requirements;

- ensure users/customers comply with requirements to connect to wastewater systems, including limitations on:

- water quantity and quality of final effluent;

- exhaust gas, noise, vibration and odours coming from wastewater systems;

- disposal and reuse of sludge;

- minimize the impacts of combined sewer overflow (CSO);

- take care of diffused pollutants in rainwater from separate sewer systems;

- maximize utilization of sludge and by-products;

- use as energy source;

- recycle as fertilizer for greenery and agricultural lands;

- recycle as construction materials;

- organize good practices for sludge disposal, reuse of by-products and waste.

- regarding operation and maintenance (O&M) of wastewater systems:

- conduct systematic operation and preventive maintenance, including repairs, for stable service quality and prevention of accidents;

- measures against ageing to preserve sound systems;

- prevent any subsidence due to pipe collapse;

- maintain stable water quality of final effluent against fluctuation of water quality and quantity in influent;

- limit impact of disasters and accidents;

- provide information to related organizations;

- establish systems to cope with leakage and inflow of toxic, hazardous or explosive substances;

- prepare for earthquake;

- operate and maintain rainwater drainage systems properly for flood control;

- develop a plan to secure public health based on possible damage from earthquakes;

- improve service quality by developing and introducing new technology;

- monitor the processes of wastewater treatments;

- guide the management of industrial discharge into sewer in accordance to laws/bylaws/regulations, information and education campaigns;

- provide monitoring system for inflow of hazardous substances into wastewater systems;

- maintain backup systems to avoid overflow and to maintain quality level of final effluent when pump and treatment systems are out of order;

- reduce infiltration and exfiltration in wastewater systems.

Annex C (Informative):

Examples of wastewater service quality criteria and performance indicators

In the following text examples of criteria and PIs are given with regard to: collection and transport, treatment and disposal/reuse of effluents/ residues and sustainability issues:

C.1 Examples of wastewater service quality criteria and performance indicators for collection and transport

Examples of criteria:

- coverage (population served within the area);

- capacity;

- resistance of the slab (number of accident per year per household)

- quality of the on-site equipment (number of curative operation per year per household)

- hydraulic capacity;

- sedimentation;

- flooding;

- overflow;

- condition;

- tightness (e.g., infiltration, exfiltration);

- corrosion;

- structural integrity;

- operation and management;

- safety of personnel;

- safety of users;

- inspection (including wrong connection);

- inflow control (including quantity and quality, indirect discharge control);

- maintenance;

- disposal of residues;

- reuse;

- man-power;

- nuisances control (e.g. presence of flies, odour);

- rehabilitation (repair + renovation + replacement);

- assets protection;

- meeting future requirements (e.g., expansion, legal requirements);

- monitoring;

- discharge consents (input to the sewer system and to the environment/overflows);

- flow and quality monitoring;

- Rodent control;

- Pumping stations failures.

Examples of associated performance indicators:

- surcharging (e.g., number of surcharges per sewer length);

- flooding (e.g., number of flooding events per unit of time);

- weight of sediment removed per sewer length;

- percentage of sewer system inspected per unit of time;

- percentage of sewer system cleaned per unit of time;

- overflow (e.g., frequency, volume, and contaminant loading);

- pumping stations failures (e.g. nº pumping stations failures, per year and length of sewer)

- system effectiveness (e.g. nº overflows per length of sewer);

- percentage of volume collected versus volume delivered to treatment.

C.2 Examples of wastewater service quality criteria and performance indicators for treatment

The service quality criteria to be considered should include:

- coverage (population served within the area);

- quantity of incoming wastewater;

- quality/concentration of contaminants /pollutants in incoming wastewater;

- treatment capacity;

- hydraulic capacity;

- pollutant removal capacity;

- residues treatment capacity;

- condition;

- Structural integrity;

- equipment redundancy;

- environmental impact;

- operation and management;

- safety of personnel;

- safety of users;

- inspection;

- maintenance;

- disposal of residues;

- wastewater reuse;

- residues reuse;

- energy efficiency (use savings and reuse);

- man-power;

- chemical use;

- odour control;

- rehabilitation (repair + renovation + replacement);

- assets protection;

- meeting future requirements (e.g., expansion, legal requirements);

- Effectiveness of the cesspool emptier system (e.g. time between request and intervention);

- monitoring;

- discharge consents (into the environment);

- flow and quality monitoring.

Examples of associated performance indicators:

- percentage of treated wastewater versus collected wastewater;

- energy consumption for wastewater treatment (e.g., per population equivalent);

- wastewater quality tests carried out in compliance with requirements;

- sludge quality tests carried out in compliance with requirements;

- wastewater treatment capacity utilisation (current loading rate versus design capacity);

- inspection of equipments (e.g., frequency);

- personnel training (e.g., in confined spaces).

C.3 Examples of wastewater service quality criteria and performance indicators for disposal/reuse of effluent/residues

Effluents and residues from treatment facilities (discharge consents):

- quantity and quality of effluent discharge into the environment or for reuse;

- quantity and quality of effluent discharge into an appropriate site;

- quantity and quality of residues (sludge utilization or disposal);

- quantity and quality of other environmental emissions (including odours, other emissions, noise and vibrations).

Examples of associated performance indicators:

- number of non-compliant quality /quantity tests for effluent discharge;

- number of non-compliant quality/quantity tests for residues;

- number of non-compliant quality/quantity tests for other environmental emissions;

- wastewater reuse;

- sludge utilization;

- solid waste from grit and grease separators and screens;

- sediments from on-site systems (e.g., septic tanks);

- percentage of reuse of treated wastewater versus total treated wastewater.

C.4 Examples of wastewater service quality criteria and performance indicators for sustainability of service

Examples of criteria:

- social aspects, including stakeholders´ participation and affordability;

- economic aspects, including cost recovery;

- environmental aspects including preventive measures based on the implementation of protection plans.

Examples of associated performance indicators:

- wastewater fee as a percentage of family income;

- institutionalised consultation of stakeholders/users (number of meetings/year)

- total cost coverage (revenues versus costs)

- debt service ratio (annual debt service /annual revenues)

Annex D (Informative): Performance indicators and related components

Performance Indicators are typically expressed as ratios between variables; these may be commensurate (e.g. %) or non-commensurate (e.g. $/m3). In the latter case, the denominator shall represent one dimension of the system or of the undertaking (e.g. total sewer length; population served, annual costs), to allow for comparisons along time (even though the size of the wastewater system evolves), or between systems of different sizes.

A clear processing rule shall be defined for each PI, specifying all the variables required and their algebraic combination. The input data maybe data generated and managed within the undertaking (utility data) or externally (external data).

The interpretation of the performance of an undertaking cannot be carried out without taking into account the context in which it operates, particularly if it is based on comparisons with other cases. Therefore, complementary to the PI’s, context information shall consider also the characteristics of the infrastructure and resource systems and the characteristics of the region in which the services are provided.

A recommended structure for a typical set of performance indicators and related components is illustrated in Figure D1 .Where the context information is structured into three groups: the undertaking profile, the system profile and the region profile.

The undertaking profile outlines the management environment in which the organisation operates. The system profile focuses mainly on the volumes managed, the physical assets, the technological means used to provide the services and on the demographic aspects of the customers. This profile requires more detail than the other system or region profiles because it also contains the descriptive indicators that are essential for the interpretation of the performance indicators. The region profile will be particularly relevant for comparisons between undertakings, as it provides the information needed to understand the demographic, economic, geographical and environmental context within which each undertaker operates.

FigureD1 – Performance Indicators, Variables and Context Information

The variables are the input data required for the assessment of the performance indicators and context information. The input data required by the performance indicators and by the undertaking and system profiles are typically utility data, whereas for the region profile there is the need to use external information.

Individual PIs should be unique and collectively appropriate for representing all the relevant aspects of undertaking performance in a true and unbiased way, thus reflecting the managing activity. Each PI should contribute to the expression of the level of actual performance achieved in a certain area and during a given period of time, allowing for a clear comparison with targeted objectives and simplifying an otherwise complex analysis.

Individually, each PI should comply with the following requirements:

- be relevant and representative of the performance;

- be clearly defined, with a concise meaning;

- be simple and easy to understand;

- be quantifiable so as to provide an objective measurement of the service, avoiding any personal or subjective appraisal;

- be sensitive and responsive to the implemented actions;

- be reliable and not subject to random changes;

- be reasonably achievable;

- be a ratio (expressed dimensionless or in units) that allows for performance comparisons;

- be auditable;

- referred to a well defined period of time and geographical area / regional characteristics.

Requirements of variables

Each variable should comply with the following requirements:

- fit the definition of the PI they are used for;

- refer to the same geographical area and the same period of time or reference date as the PI they will be used for;

- be as reliable and accurate as the decisions made based on them require.

Some of the variables are external data and mainly informative, and their availability, accuracy, reference dates and limits of the corresponding geographical area are generally out of the control of the undertaking. In this case, variables should also comply with the following requirements:

- whenever possible, and particularly if to be used to assess PIs, be collected from official survey departments;

- be fundamental for the PI assessment or interpretation;

- be as few as possible.

Annex E (Informative):

Implementation of Performance Indicators

The implementation of PIs should be carefully planned. A possible implementation of PIs is given in the figure below (Figure E1).

Various stakeholders should participate in the definition and implementation of PIs.

Figure E1 – Example of implementation of PIs

Annex F: Bibliography

National standards related with detailed referring information

- French national standard:

- NF P 15-900-2, “Local public services – Guidelines for drinking water supply and sewerage service activities – Part 2: Management of a sewerage network”, AFNOR, Paris; 2001;

- NF P 15-900-3, “Local public services – Guidelines for service activities relating to drinking water supply and sewerage – Part 3: Management of a wastewater treatment system”, AFNOR, Paris; 2001;

- European standard: EN 752-2, “Drain and sewer systems outside buildings – Performance requirements", CEN, Brussels;

- German standard: ATV-M 801E: Integrated Quality and Environmental Management System for Operators of Wastewater Facilities, ATV-DVWK, Hennef (Germany); 1997;

- Japanese national guideline: “Guideline for Improving O&M of Wastewater Systems”, JSWA No. 472; May 2003;

- Dutch guideline “Leidraad Riolering”, Netherlands;

- IWA Performance Indicators for Wastewater Services; Manual of Best Practice Services (MBP), ISBN 1900222906, 174 p.; Matos, M. R.; Ashley, R.; Cardoso, M. A.; Duarte, P.; Molinari, A.; Shulz, A; London; 2003;

- OfWat, Confidence Grading Scheme; Office of Water Services, Return Reporting Requirements and Definitions Manual, UK; 2001.

- NPR 3220: Sewer management

- NEN 3398: Investigation and assessment of sewers

# Footnotes

Note: No measurement device is completely accurate, and some of the data available in the system may have been obtained by less accurate methods.

Note: Old records may not be reliable in terms of depicting the current situation of the assets.

# Text boxes

Treated wastewater reuse

RECEIVING WATER

WWTP

Treated wastewater

wastewater treatment plant

storage

Sludge

disposal / reuse

Pumping stations may be installed anywhere in the system

Sludge treatment

Sludge

disposal / reuse

separate sewer system

combined sewer system

domestic wastewater

stormwater

rainfall

sanitary sewer

Combined Sewer Overflow (CSO)

RECEIVING WATER

catchment area

storm sewer

storage

On-Site systems

industrial wastewater

(raw or pre-treated)

Infiltration &

combined sewer

storage

WWTP

Other catchment area

Import/export

Other catchment area

Import/export

Storage system

Sludge

disposal / reuse

interceptor sewer

storage

Collection &

Transportation

storage

Precarious housing

Disposal/ Treatment

Transportation

Connections/Collection

Source: Based on a scheme from Hydroconseil, France, 2002

Through pipe system

Pipe Collection system

Dumping in the neighborhood

Or

Or

On-site disposal non-watertight

Multi-storey Building

Elementary house

On-site watertight tank

On-site treatment system

(e.g. septic tank with reed beds )

Surface transport (truck or other means)

Treatment plant

Adapted dumping site

Buried

High standing house

Inner-City

Periphery or irregular settlement

and rural area